## UPS AMC Details
Sr No | SPOC | Email ID | Contact Number | Asset Description as per FAR | Make (OEM) | Capacity (KVA) | UOM (KVA/VA) | Model Number | Location | Region 1 | State | Address | Installation date | Warranty Expiry | AMC Vendor for 26-27 | Concat
1 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | UPS 6KVA-1Phase Input / 1Phase Output | Vertiv/Emersen | 6 | KVA |  | Ambikapur | South & West 3 | Chhattisgarh | Bajaj Finance 1st floor Dhanjal Complex infront of govt. Polytechnic college near life line hospital Ring Road NamnaKala Ambikapur 497001 (C.G.) | 2022-10-04 | 2024-10-03 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
2 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | UPS Emerson make 10KVA Model S 400D | Vertiv/Emersen | 10 | KVA | S 400D | Bilaspur | South & West 3 | Chhattisgarh | Bajaj Finance Limited, Gata No. 153, Moh Shiv Bagh, Mandi (Bazar Kalan) Ward No 12, Khodalpur Road, Laxmi Nagar, Bilaspur, Dist-Rampur, Uttar Pradesh, 244921 | 2019-01-18 | 2021-01-17 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
3 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | 3KVA UPS+ISOLATION/TRANSF-FUJI ELECTRIC | Fuji Electric | 3 | KVA | 3Kva | Bilaspur | South & West 3 | Chhattisgarh | Bajaj Finance Limited, Gata No. 153, Moh Shiv Bagh, Mandi (Bazar Kalan) Ward No 12, Khodalpur Road, Laxmi Nagar, Bilaspur, Dist-Rampur, Uttar Pradesh, 244921 | 2023-12-08 | 2025-12-07 | Fuji Electric | Fuji ElectricChhattisgarhIshwar Rajput
4 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | UPS Emerson make GXTMT+3kva CXLB 16 Amp | Vertiv/Emersen | 3 | KVA | GXTMT+3kva CXL | Champa | South & West 3 | Chhattisgarh | Ground Floor, Didwania Complex, Above Bank Of Baroda, Goushala Road, Champa – 495671 (C.G)) | 2018-04-20 | 2020-04-19 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
5 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | Online UPS 6000 (6KVA@4.8kW) (1Ph 1Ph) | Champion | 6 | KVA | Online UPS 6KVA | Jashpurnag | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 1st Floor, Chandraraj Complex, Khasra No. 1073/3, Raigarh Road, Above Idbi Bank & Syndicate Bank, Jashpur Nagar - 496331 Dist. Jashpur (Chhattisgarh) | 2019-03-30 | 2021-03-29 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
6 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | Online UPS 6000 (6KVA@4.8kW) (1Ph 1Ph) | Champion | 6 | KVA | Online UPS 6KVA | Katghora | South & West 3 | Chhattisgarh | Bajaj Finance Limited, Ground Floor, Bilaspur Road, In Front Of Durga Mandir Near Esaf Bank, Khatghora – 495445, Dist-Korba (Chhattisgarh) | 2019-03-30 | 2021-03-29 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
7 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | UPS 3KVA Champion Make (2-3 Hrs. Backup) | Champion | 3 | KVA | Online UPS 6KVA | Kawardha | South & West 3 | Chhattisgarh | Ground Floor Swashtik Bhawan, Raipur Road, Gurugovind Singh Ward, Kawardha, Chhattisgarh- 491995 | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
8 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | UPS 3KVAGXT MT+LB | Vertiv/Emersen | 3 | KVA | 3KVAGXT MT+LB | Korba | South & West 3 | Chhattisgarh | 1st Floor Plot no 160. Shanti Bhawan near Hotel Maharaja Above Punjab National Bank Transport Nagar Korba (C.G) – 495677 | 2022-09-16 | 2024-09-15 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
9 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | UPS 6KVA-1Phase Input / 1Phase Output | Vertiv/Emersen | 6 | KVA |  | Korba | South & West 3 | Chhattisgarh | 1st Floor Plot no 160. Shanti Bhawan near Hotel Maharaja Above Punjab National Bank Transport Nagar Korba (C.G) – 495677 | 2022-09-16 | 2024-09-15 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
10 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | UPS 3000 CHAM MAKE (3KVA@2.4KW)/BATTERY | Champion | 3 | KVA |  | Manendraga | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 1st Floor, Opp. Labour Office, Above Central Bank Atm, Near Vinay Hotel, Station Road Manendragarh 497442 (Cg) | 2017-10-26 | 2019-10-26 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
11 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | 3KVA UPS+ISOLATION/TRANSF-FUJI ELECTRIC | Fuji Electric | 3 | KVA |  | Pamgarh | South & West 3 | Chhattisgarh | Bajaj Fianance Limited 1st Floor sahasa road Near Jagan talab Dist. janjgir champa Pamgarh CG-495554 | 2023-10-07 | 2025-10-06 | Fuji Electric | Fuji ElectricChhattisgarhIshwar Rajput
12 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | Online UPS 6000 (6KVA@4.8kW) (1Ph 1Ph) | Champion | 6 | KVA |  | Pathalgaon | South & West 3 | Chhattisgarh | Bajaj Finance Limited, Khasra No. 81/10, G/2 1st Floor, Ambikapur Road, Above Bank Of Baroda, Pathalgaon - 496118 Dist. Jashpur (Chhattisgarh) | 2019-03-30 | 2021-03-29 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
13 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA |  | Pendra | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 1st Floor, War No. 11, State Highway -4, Infront Of Saraswati Shishu Mandir School, Pendra - 495119 Dist. Bilaspur (Cg) | 2018-12-22 | 2020-12-21 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
14 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | UPS 3KVA Champion Make (4 Hour Backup) | Champion | 3 | KVA |  | Raigarh | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 1st Floor, Dcot Plaza, Sh 1, Madhuban Para, Above Vip World, Raigarh 496001 | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
15 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | UPS 6KVA-1Phase Input / 1Phase Output | Vertiv/Emersen | 6 | KVA |  | Raigarh Additional | South & West 3 | Chhattisgarh | Bajaj Finance Limited, Modi Plaz, Dhimrapur road, Raigarh- 496001 | 2022-08-17 | 2024-08-16 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
16 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | 6KVA UPS+ISOLATION/TRANSFORMER-6K, DELTA | DELTA | 6 | KVA |  | Ramanujganj | South & West 3 | Chhattisgarh | Bajaj Finance Limited, Bus Stand, Beside Ramanujganj Thana, Infront of Shivam Grand Hotel, Ramanujganj-497220 | 2023-06-03 | 2025-06-02 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
17 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA |  | Shivrinarayan | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 1st Floor, Kharod Road Near Esaf Bank Dist. Janjgir Champa Shivrinarayan - 495557 (Cg) | 2018-12-05 | 2020-12-04 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
18 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | Online UPS 6000 (6KVA@4.8kW) (1Ph 1Ph) | Champion | 6 | KVA |  | Surajpur | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 1st Floor, Khasra No. 335/2, Manendragarh Road, Mahamaya Marble & Tiles, Chandarpur, Surajpur - 497229 (Chhattisgarh) | 2019-03-30 | 2021-03-29 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
19 | Ishwar Rajput | ishwar.rajput@bajajfinserv.in | Mob-8878867299 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA |  | Takhatpur | South & West 3 | Chhattisgarh | Bajaj Finance Limited, Ground Floor, Gurudwara Complex, Gurudwara Road, Near Hdfc & Idbi Bank, Dist Bilaspur, takhatpur - 495330 | 2020-02-19 | 2022-02-18 | Novateur Electrical | Novateur ElectricalChhattisgarhIshwar Rajput
20 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 3KVA Emerson CX-3000 5-6 hr. Backup | Vertiv/Emersen | 3 | KVA | CX-3000 | Amalapuram | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor , 7-2-27, Patchgolla Complex, Above Bank of Maharashtra, Mummidivaram gate, Main Road, Amalapuram - 533201. Andhra Pradesh | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
21 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | PB600 | Amalapuram | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor , 7-2-27, Patchgolla Complex, Above Bank of Maharashtra, Mummidivaram gate, Main Road, Amalapuram - 533201. Andhra Pradesh | 2019-02-07 | 2021-02-06 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
22 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 3KVA Emerson CX-3000 5-6 hr. Backup | Vertiv/Emersen | 3 | KVA | CX-3000 | Anakapalle | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor, Parvathi Heights, 12-01-1937, Opp. Ntr Stadium, Anakapalle – 531001. Andhra Pradesh | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
23 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | PB600 | Anakapalle | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor, Parvathi Heights, 12-01-1937, Opp. Ntr Stadium, Anakapalle – 531001. Andhra Pradesh | 2019-08-26 | 2021-08-25 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
24 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | 6KVAUPS+ISOLATION/TRANSFORMER BEST POWER | BPE | 6 | KVA | PB600 | Bhimavaram | South & West 3 | Andhra Pradesh | Eswara Towers, 22-11-11, 1St Floor, Near Mavulamma Temple Center, Axis Bank Bhimavaram -534201 | 2023-11-02 | 2025-11-01 | Best Power | Best PowerAndhra PradeshNikhil Joshi
25 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 10KVA EMERSON MAKE | Vertiv/Emersen | 10 | KVA | UPS 10 KVA | Kakinada | South & West 3 | Andhra Pradesh | 1St Floor, N V R Complex, D.No. 13-1-57, Main Road, Kakinada 533001 | 2018-10-16 | 2020-10-15 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
26 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 6KVA-1Phase Input / 1Phase Output | Vertiv/Emersen | 6 | KVA | PB600 | Kakinada | South & West 3 | Andhra Pradesh | 1St Floor, N V R Complex, D.No. 13-1-57, Main Road, Kakinada 533001 | 2014-06-09 | 2016-06-08 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
27 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 6KVA-1Phase Input / 1Phase Output | Vertiv/Emersen | 6 | KVA | PB600 | Kakinada Additional | South & West 3 | Andhra Pradesh | Viswantham Complex, # 5-1-61/2, Subhash Road, Suryaraopeta, Ward No :08, Kakinada - 533001 | 2022-09-02 | 2024-09-01 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
28 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 3KVA Emerson CX-3000 5-6 hr. Backup | Vertiv/Emersen | 3 | KVA | CX-3000 | Kasibugga | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor,Kothakota Complex, Nxt Apsrtc Bus Stand, Kasibugga, Palasa - 532222. Andhra Pradesh | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
29 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | PB600 | Kasibugga | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor,Kothakota Complex, Nxt Apsrtc Bus Stand, Kasibugga, Palasa - 532222. Andhra Pradesh | 2019-01-18 | 2021-01-17 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
30 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 3KVA Champion Make (2-3 Hrs. Backup) | Champion | 3 | KVA | CX-3000 | Mandapeta | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor, Above Tamilnadu Mercantile Bank, Beside Shri Krishna Lodge, Main Road, Mandapeta - 533308. Andhra Pradesh | 2017-04-30 | 2019-04-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
31 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | ups 3000 cham make (3KVA@2.4kW)-battery | Champion | 3 | KVA | CX-3000 | Narsapur | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor, Srinivas Nivas, .No:-3-1-1/1,1st Fllor,Above KVB Bank,Kotipalli Gari Veedi,Narsapuram-534275. Andhra Pradesh | 2018-03-31 | 2020-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
32 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | 3KVAUPS+ISOLATE TRANSF-GXTMT+CX-3EMERSEN | Vertiv/Emersen | 3 | KVA | UPS 3KVA | Narsipatnam | South & West 3 | Andhra Pradesh | Bajaj Finance Limited, #1-1-160, Shanti nagar,narsipatnam-Ankapali mainroad, above Kotak mahindra bank, Narsipatnam-531116 | 2023-09-29 | 2025-09-28 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
33 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS-3000 EX(3KVA@2.4kW) (1ph-1ph) | Champion | 3 | KVA | UPS-300 | Padderu | South & West 3 | Andhra Pradesh | 13-124, Gudivada Main Road, Paderu – 531024 | 2022-05-17 | 2024-05-16 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
34 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 3KVA Emerson CX-3000 5-6 hr. Backup | Vertiv/Emersen | 3 | KVA | CX-3000 | Palakollu | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., D.No:- 35-5-20, 1st Floor,Middhe Narayanamma Complex, Opp. Anandh Sai Sweet stall, Palakollu - 534260. Andhra Pradesh | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
35 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | PB600 | Palakollu | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., D.No:- 35-5-20, 1st Floor,Middhe Narayanamma Complex, Opp. Anandh Sai Sweet stall, Palakollu - 534260. Andhra Pradesh | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
36 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 3KVA Emerson CX-3000 5-6 hr. Backup | Vertiv/Emersen | 3 | KVA | CX-3000 | Parvathipu | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor,Krishna Building, Opp Hotel Srikanth, Rajiv Marg, Parvathipuram- 535501. Andhra Pradesh | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
37 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | PB600 | Parvathipu | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor,Krishna Building, Opp Hotel Srikanth, Rajiv Marg, Parvathipuram- 535501. Andhra Pradesh | 2018-09-26 | 2020-09-25 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
38 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 10KVA EMERSON MAKE | Vertiv/Emersen | 10 | KVA | UPS 10 KVA | Rajahmundry | South & West 3 | Andhra Pradesh | 2Nd Floor, Konduri Square, D.No. 36-7-14, Konduri Street, Innis Pet, Rajahmundry 533101 | 2018-10-26 | 2020-10-25 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
39 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 6KVA-1Phase Input / 1Phase Output | Vertiv/Emersen | 6 | KVA | PB600 | Rajahmundry Additional | South & West 3 | Andhra Pradesh | 3rd Floor, Konduri Square, D.No. 36-7-14, Konduri Street, Innis Pet, Rajahmundry 533101 | 2022-09-02 | 2024-09-01 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
40 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 3KVA Champion Make (2-3 Hrs. Backup) | Champion | 3 | KVA | CX-3000 | Rajam | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor, D.NO.5-1-257, Above Corporation Bank, Beside Post Office, Srikakulam Road, Rajam-532127. Andhra Pradesh | 2017-04-25 | 2019-04-25 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
41 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | PB600 | S Kota | South & West 3 | Andhra Pradesh | # 187-1, First Floor, Beside Of Ramakrishna Theatre, Opp. To Indian Oil Petrol Bank, Araku Road, Srungavarapu Kota , Visakhapatnam, Andhra Pradesh 535145 | 2020-04-01 | 2022-04-01 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
42 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | CX-3000 | Samalkota | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st FLOOR, KVR COMPLEX, OPP:- SBI, PEDDAPURAM ROAD, SAMALKOTA-533440. Andhra Pradesh | 2018-03-31 | 2020-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
43 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | PB600 | Srikakulam | South & West 3 | Andhra Pradesh | Potunuru Plaza, 1St Floor, Beside Konark Sweets, Gt Road, Srikakulam – 532001 | 2020-01-06 | 2022-01-05 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
44 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | 3KVAUPS+ISOLATE TRANSF-GXTMT+CX-3EMERSEN | Vertiv/Emersen | 3 | KVA | PB600 | Tagarapuvalasa | South & West 3 | Andhra Pradesh | Bajaj Finanance Ltd. Bhagvan Enclave, 2nd Floor, D No.7-42-167/8, Ward No.9 Blockno.42, Visakhapatanam road, Tagarapuvalasa Pincode -531163 | 2023-12-09 | 2025-12-08 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
45 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 3KVA Emerson CX-3000 5-6 hr. Backup | Vertiv/Emersen | 3 | KVA | CX-3000 | Tanuku | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 1st Floor,28-6-15, Sri Matha Towers,Velpur Road, Opp. Kummarla Street, Rajiv Chowk, Tanuku-534211 Andhra Pradesh | 2016-06-28 | 2018-06-28 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
46 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS Emerson make 10KVA Model S 400D | Vertiv/Emersen | 10 | KVA | S 400D | Tanuku | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 1st Floor,28-6-15, Sri Matha Towers,Velpur Road, Opp. Kummarla Street, Rajiv Chowk, Tanuku-534211 Andhra Pradesh | 2018-09-26 | 2020-09-25 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
47 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 3KVA Emerson CX-3000 5-6 hr. Backup | Vertiv/Emersen | 3 | KVA | CX-3000 | Tuni | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor, 4-2-24,Suneel Building, Above A To Z Mega Emporimprakasham Road, Main Road, Tuni – 533401. Andhra Pradesh | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
48 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | 10KVA UPS SET VERTIV 3PH INPUT&OUTPUT | Vertiv/Emersen | 10 | KVA | UPS 10 KVA | Visakhapatnam Addtiional Ground Floor | South & West 3 | Andhra Pradesh | Bajaj Finance Limited, "Sri Toweers" D.No.45-56-2,Ground Floor 2&3, Narasimha Nagar, Allipuram, Visakhapatanam - 530016. | 2023-10-20 | 2025-10-19 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
49 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | 30 KVA UPS Pure Sine Wave | Vertiv/Emersen | 30 | KVA | UPS 30KVA | Vizag Additional | South & West 3 | Andhra Pradesh | Bajaj Finance Limited, 1St Floor, Sreya Complex, Narsimha Nagar, Kailasapuram, Visakhapatnam, Andhra Pradesh 530024 | 2019-11-14 | 2021-11-13 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
50 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS Emerson S400D 20KVA with Battery | Vertiv/Emersen | 20 | KVA | S 400D | Vizag Csb | South & West 3 | Andhra Pradesh | D.No-50-81-70/5, 1St Floor, Aditya Complex, Seethammapeta, Visakhapatnam – 530013 | 2015-06-30 | 2017-06-29 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
51 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | Online UPS 10000 (10KVA@8kW)(3Ph 1Ph) | Vertiv/Emersen | 10 | KVA | UPS 10KVA | Vizag Slpl | South & West 3 | Andhra Pradesh | 49-24-65, Ravi Ghanta Complex, 2nd Floor, Sankara Mattam Road, Visakhapatnam – 530016 | 2022-05-23 | 2024-05-22 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
52 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS Emerson 3KVAGXTMT + LB (4 hr backup) | Vertiv/Emersen | 3 | KVA | GXTMT +3KVA | Vizianagram | South & West 3 | Andhra Pradesh | 1St Floor, Plot No.164/A, Opp. Mee Seva Center, Above United Bank Of India, Baba Metta, Vuda Layout, Ring Road, Vizainagaram - 535 002. | 2015-02-23 | 2017-02-22 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
53 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS Emerson make GXTMT+ 10 KVA | Vertiv/Emersen | 10 | KVA | PB600 | Vizianagram | South & West 3 | Andhra Pradesh | 1St Floor, Plot No.164/A, Opp. Mee Seva Center, Above United Bank Of India, Baba Metta, Vuda Layout, Ring Road, Vizainagaram - 535 002. | 2022-01-08 | 2024-01-08 | Novateur Electrical | Novateur ElectricalAndhra PradeshNikhil Joshi
54 | Nikhil Joshi | nikhil.joshi@bajajfinserv.in | Mob-9860292959 | UPS 6000 (6kva@ 4.8kw)(1Ph-1Ph) | Champion | 6 | KVA | Online UPS 6KVA | Yanam | South & West 3 | Pondicherry | 1st Floor, M.A.K Heritage, Bus stand Road, Near Axis Bank, Khaki Street, Yanam, Pondicherry - 533464 | 2019-06-18 | 2021-06-17 | Novateur Electrical | Novateur ElectricalPondicherryNikhil Joshi
55 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 3KVA Champion Make (4 Hour Backup) | Champion | 3 | KVA | UPS 3KVA | Anantapur | South & West 3 | Andhra Pradesh | Bajaj Finance Limited D No 12-4-66, Plot No 101, 1st Floor, S V Towers, 1st Floor , 80 Feet Road, Vidyut Nagar, Anantapur, 515004 | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
56 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS Emerson make 10KVA Model S 400D | Vertiv/Emersen | 10 | KVA | UPS 10KVA Model S 400D | Anantapur | South & West 3 | Andhra Pradesh | Bajaj Finance Limited D No 12-4-66, Plot No 101, 1st Floor, S V Towers, 1st Floor , 80 Feet Road, Vidyut Nagar, Anantapur, 515004 | 2018-11-19 | 2020-11-18 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
57 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | UPS PB600 | Chittoor | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,D.No: 8-341/3, 1st Floor, Chilumkuri Pride Towers, Gandhi Road, Chittoor-517001 | 2018-09-26 | 2020-09-25 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
58 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS emerson make GXTMT+3KVA CX LB 16A | Vertiv/Emersen | 3 | KVA | GXTMT+3KVA CX LB 16A | Dharmavara | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd., D.No:23/195-197, 1st Floor, Sai Nagar, Vaibhav Complex, Opp Indian Overseas Bank, Near R T C Bus Stand, Dharmavaram – 515671. Andhra Pradesh | 2017-11-18 | 2019-11-18 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
59 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 3KVA Emerson CX-3000 5-6 hr. Backup | Vertiv/Emersen | 3 | KVA | UPS 3KVA CX-3000 | Gudur | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd., D.No.10/12,Ground Floor, Om Sai Building, Zp High School Road, Beside Navatha Transport, Gudur – 524101. Andhra Pradesh | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
60 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | UPS PB600 | Gudur | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd., D.No.10/12,Ground Floor, Om Sai Building, Zp High School Road, Beside Navatha Transport, Gudur – 524101. Andhra Pradesh | 2019-01-18 | 2021-01-17 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
61 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 3KVA Emerson CX-3000 5-6 hr. Backup | Vertiv/Emersen | 3 | KVA | UPS 3KVA CX-3000 | Guntakal | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd., , 16/130b, 1st Floor,Above Icici Bank, Slv Talkies Road, Guntakal - 515 801. Andhra Pradesh | 2016-03-26 | 2018-03-26 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
62 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 3000 CHAM MAKE (3KVA@2.4KW)/BATTERY | Champion | 3 | KVA | UPS 3KVA | Hindupur | South & West 3 | Andhra Pradesh | 1st Floor, 18-143, M F Road, Opp. Karur Vysya Bank, Near Vijaya Bank, Hindupur – 515201 | 2017-10-26 | 2019-10-26 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
63 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | 6KVAUPS+ISOLATION/TRANSFORMER BEST POWER | BPE | 6 | KVA | 6KVA UPS | Kadapa | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,2Nd Floor, 42-112,113,114, Sai Arcade, Ngo’S Colony, Main Road, Kadapa-516002 | 2023-10-13 | 2025-10-12 | Best Power | Best PowerAndhra PradeshPandla Munirathnam
64 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 6KVA-1Phase Input / 1Phase Output | Vertiv/Emersen | 6 | KVA | UPS PB600 | Kadapa | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,2Nd Floor, 42-112,113,114, Sai Arcade, Ngo’S Colony, Main Road, Kadapa-516002 | 2022-09-02 | 2024-09-01 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
65 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | UPS PB600 | Kadapa Additional | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,2nd Floor, Subba Reddy Complex, D.No -1/2446, APHB Colony, Kadapa – 516002 | 2018-10-24 | 2020-10-23 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
66 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | UPS 3KVA | Kadiri | South & West 3 | Andhra Pradesh | Bajaj Finance Limited 1-1169 1st Floor, Above Karur Vysya Bank, Bypass Road, Near Vemareddy Circle, Kadiri, Andhra Pradesh 515591 | 2018-03-31 | 2020-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
67 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | UPS 3KVA | Kalyandurg | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor,Beside Butna Complex,Near Rtc Bus Stand,Main Road, Kalyandurg,Ananthapuram-515761. Andhra Pradesh | 2020-03-07 | 2022-03-07 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
68 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | 3KVAUPS+ISOLATE TRANSF-GXTMT+CX-3EMERSEN | Vertiv/Emersen | 3 | KVA | 3KVA GXTMT+CX-3EMERSEN | Kuppam | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,No-14-182, 2nd Floor, A.P. Vajarevel Chetty Street, Kuppam, Chittoor (Dt) Ap | 2023-09-26 | 2025-09-25 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
69 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | 6KVA UPS+ISOLATION/TRANSF-GXT MTXEMERSEN | Vertiv/Emersen | 6 | KVA | UPS 6KVA GXT MTXEMERSEN | Madanapalle Additional | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,2nd Floor, Vmc Height, #1-444-3, Bangalore Road, Madanapalli-517325 | 2023-09-28 | 2025-09-27 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
70 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 2KVA Emerson Make (2 Hour Backup) | Vertiv/Emersen | 2 | KVA | UPS 2KVA | Madanapalli | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,D.No.2651d/2b, 1st Floor, Ward No - 16-623-2-1, Gandhi Road, Pungunur Road, Madanapalle, Ap - 517325 | 2016-04-01 | 2018-04-01 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
71 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | 3KVAUPS+ISOLATE TRANSF-GXTMT+CX-3EMERSEN | Vertiv/Emersen | 3 | KVA | 3KVA GXTMT+CX-3EMERSEN | Naidupet | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,6-4-21/3,Lothuvanigunta-6, Naidupeta, Ap - 524126 | 2023-09-25 | 2025-09-24 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
72 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 3KVA Champion Make (2-3 Hrs. Backup) | Champion | 3 | KVA | UPS 3KVA | Palmaner | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd., 2nd Floor, Sri Sai Balaji Complex, Above Swagruha Foods, Javali Street, Palmaneru – 517408. Andhra Pradesh | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
73 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 3KVA Champion Make (2-3 Hrs. Backup) | Champion | 3 | KVA | UPS 3KVA | Piler | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd., D No.2/1805, 1st Floor, Venkataramana Complex, Near Kadapa Road, Pileru – 517214. Andhra Pradesh | 2017-04-19 | 2019-04-19 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
74 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | 3KVAUPS+ISOLATE TRANSF-GXTMT+CX-3EMERSEN | Vertiv/Emersen | 3 | KVA | 3KVA GXTMT+CX-3EMERSEN | Proddutur | South & West 3 | Andhra Pradesh | GSR Complex, # 9/646/2/3/4, Survey No 548/1A,552, Sunnapubatti Veedhi, 9th ward, Proddatur, YSR Mydukur Raod, Proddatur -516362 | 2023-04-22 | 2025-04-21 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
75 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | 3KVAUPS+ISOLATE TRANSF-GXTMT+CX-3EMERSEN | Vertiv/Emersen | 3 | KVA | 3KVA GXTMT+CX-3EMERSEN | Pulivendula | South & West 3 | Andhra Pradesh | Bajaja FinanceLtd, Ward no 1, Survey no.444 opposite of thilak mobile,Mail road, Pulivendula, Kadapa dist, Pin code 516390, | 2023-09-30 | 2025-09-29 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
76 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS emerson make GXTMT+3KVA CX LB 16A | Vertiv/Emersen | 3 | KVA | 3KVA CX LB 16A | Railway Koduru | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd.,Ground Floor, CVSR Complex, Nethaji Road. Beside Police station,Railway Koduru – 516101. Andhra Pradesh | 2017-11-18 | 2019-11-18 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
77 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | UPS PB600 | Rajampet | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,2nd Floor, # 6/987-A-2, A B Narsamma Bhavanam, Above Andhra Bank, RS Road, Razampet (Andhra Pradesh) 516115 | 2018-11-19 | 2020-11-18 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
78 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | UPS PB600 | Rayachoti | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd.,D No 24/127, 1st Floor, Above Hdfc Bank, Alinabad Street, Rajampet Road, Rayachoti – 516269. Andhra Pradesh | 2018-09-26 | 2020-09-25 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
79 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | 3KVAUPS+ISOLATE TRANSF-GXTMT+CX-3EMERSEN | Vertiv/Emersen | 3 | KVA | 3KVA GXTMT+CX-3EMERSEN | Rayadurg | South & West 3 | Andhra Pradesh | Bajaj Finance Limited H No 8-2-212 Near Vannuru Swamy Katta, Bellari Road, Rayadurg Town, Anantapuram Dist, Andhra Pradesh-515865. | 2023-09-30 | 2025-09-29 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
80 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS emerson make GXTMT+3KVA CX LB 16A | Vertiv/Emersen | 3 | KVA | 3KVA CX LB 16A | Srikalahsti | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,1st Floor, Above Indian Overseas Bank, 7-242, Kothapeta, Near Old Busstand, Sri Kalahasti - 517644 Ap | 2018-06-22 | 2020-06-21 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
81 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS emerson make GXTMT+3KVA CX LB 16A | Vertiv/Emersen | 3 | KVA | 3KVA CX LB 16A | Srikalahsti | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,1st Floor, Above Indian Overseas Bank, 7-242, Kothapeta, Near Old Busstand, Sri Kalahasti - 517644 Ap | 2018-08-12 | 2020-08-11 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
82 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | UPS 3KVA | Sulluerpeta | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd., 1st Floor, Above Sreevari Furniture, Gnt Road. Opp. Chaitanya School Sullurpeta – 524121. Andhra Pradesh | 2018-03-06 | 2020-03-05 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
83 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 3KVA Emerson CX-3000 5-6 hr. Backup | Vertiv/Emersen | 3 | KVA | UPS 3KVA CX-3000 | Tadipatri | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd., 1st Floor Kanchani Complex, Opp. Kanchana Hospital, Above Life Care Scan Center, Cb Road, Tadipatri - 515 411. Andhra Pradesh | 2016-06-28 | 2018-06-28 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
84 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | UPS 30KVA@27KW Champion 3PH-3PH | Champion | 20 | KVA | UPS 30KVA | Tirupati | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,1st & 2nd Floor, Pradeep Plaza, 23-8-153, New Balaji Colony, Air Bypass Road, Tirupati- 517501 | 2018-08-31 | 2020-08-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshPandla Munirathnam
85 | Pandla Munirathnam | pandla.munirathnam@bajajfinserv.in | #N/A | 3KVA UPS+ISOLATE/TRANSFORMER BEST POWER | BPE | 3 | KVA | 3KVA UPS | Venkatagiri | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,1st Floor, Tirupati Road Opp Subhas Hospital, Venkatagiri, Tirupati, Ap Pin-524132 | 2024-03-06 | 2026-03-06 | Best Power | Best PowerAndhra PradeshPandla Munirathnam
86 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | UPS_3KVA | Balod | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 1st Floor, Nahata Heights, Ganjpara Main Road, Balod - 491226 (CG) | 2018-12-31 | 2020-12-30 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
87 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | UPS 3000 CHAM MAKE (3KVA@2.4KW)/BATTERY | Champion | 3 | KVA | UPS_3KVA | Bhatapara | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 1st Floor, Opp. City Garden Main Road Sadar Bazar Gandhi Mandir Bhatapara Dist. Baloda Bazar Cg.-493118 | 2017-10-26 | 2019-10-26 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
88 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | UPS 6KVA Online Powerbank(4 hour backup) | Vertiv/Emersen | 6 | KVA | 6KVA | Bhilai | South & West 3 | Chhattisgarh | 2nd Floor, Contractor Colony, Chandra Mourya Square, Supela, Bhilai 490023 (C.G) | 2016-06-11 | 2018-06-11 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
89 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | UPS 6KVA-1Phase Input / 1Phase Output | Vertiv/Emersen | 6 | KVA | 6KVA | Bhilai | South & West 3 | Chhattisgarh | 2nd Floor, Contractor Colony, Chandra Mourya Square, Supela, Bhilai 490023 (C.G) | 2022-08-27 | 2024-08-26 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
90 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | 6KVAUPS+ISOLATION/TRANSFORMER BEST POWER | BPE | 6 | KVA | 6KVA | Bijapur R26 | South & West 3 | Chhattisgarh | Bajaj Finance Limited 1st floor Near Bus Stand & City Kotwali Thana Macheriya Chennur Hyderabad -Jagdalpur Road NH 63 Bijapur Chhattisgarh- 494444 | 2023-09-15 | 2025-09-14 | Best Power | Best PowerChhattisgarhRanjana Gupta
91 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | 6KVAUPS+ISOLATION/TRANSFORMER BEST POWER | BPE | 6 | KVA | 6KVA | Deobhog R26 | South & West 3 | Chhattisgarh | Bajaj Finance Limited Ground floor NH-130C Main road Near Rest House Chhattisgarh Deobhog -493890 | 2023-09-15 | 2025-09-14 | Best Power | Best PowerChhattisgarhRanjana Gupta
92 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | UPS 3KVA Champion Make (4 Hour Backup) | Champion | 3 | KVA | UPS_3KVA | Dhamtari | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 1st Floor , Bomabay Garage Area, Above Axis Bank, Jagdalpur Road, Near Kothari Park, Itwari Bazar, Dhamtari, 493773 | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
93 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | 3KVA UPS+ISOLATION/TRANSF-FUJI ELECTRIC | Fuji Electric | 3 | KVA | UPS_3KVA | Dhamtari- Additional | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 1st Floor Memon Manzil, Near Jana Finance Bank, Ratna Bandha Road, Dhamtari, Chhattiisgarh- 493773 | 2025-02-03 | 2027-02-03 | Under Warranty | Under WarrantyChhattisgarhRanjana Gupta
94 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | UPS_3KVA | Dongargarh | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 1st Floor, Ganesh Bada Bhagat Singh Ward, Near Govt Boys School, Dongargarh - 491445 Dist - Rajnandgaon (Cg) | 2018-12-31 | 2020-12-30 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
95 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | 6KVA | Jagdalpur | South & West 3 | Chhattisgarh | 2st Floor, Ashirwad Complex, Rautpara, B/H Lagoo Hospital, Agrasen Chowk, Jagdalpur - 494001 (C.G) | 2018-10-24 | 2020-10-23 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
96 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | UPS 6000 (6kva@ 4.8kw)(1Ph-1Ph) | Champion | 6 | KVA | 6KVA | Khairagarh | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 1st Floor, Shulochana Tower, Itwari Bazar Main Road, State Highay 6, Khairagarh 491881, Dist-Rajnandgaon (Chhattisgarh) | 2019-06-18 | 2021-06-17 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
97 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | 3KVA UPS+ISOLATION/TRANSF-FUJI ELECTRIC | Fuji Electric | 3 | KVA | UPS_3KVA | Kharora R-29 | South & West 3 | Chhattisgarh | Bajaj Finance Limited 1st Floor, Infront of Indian Overseas Bank, Kesla, Kharora, Tilda Simga Road, Kharora, (C.G.) 493225 | 2023-10-07 | 2025-10-06 | Fuji Electric | Fuji ElectricChhattisgarhRanjana Gupta
98 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | UPS 6000 (6kva@ 4.8kw)(1Ph-1Ph) | Champion | 6 | KVA | 6KVA | Kondagaon | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 2nd Floor 377/2kh, Near Saroj Hardware, Jamkot Para, Kondagaon - 494226 (Chhattisgarh) | 2019-06-12 | 2021-06-11 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
99 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | 3KVA UPS+ISOLATION/TRANSF-FUJI ELECTRIC | Numuric | 3 | KVA | UPS_3KVA | Kumhari U-23 | South & West 3 | Chhattisgarh | Bajaj Finance Limited, Ground Floor, Gaurav Path, Infront of Dusherra Maidan, Kumhari 490042 Chhattisgarh | 2023-12-18 | 2025-12-17 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
100 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | UPS 3000 CHAM MAKE (3KVA@2.4KW)/BATTERY | Champion | 3 | KVA | UPS_3KVA | Mahasamund | South & West 3 | Chhattisgarh | Bajaj Finance Limited, 1st Floor, Above Vijaya Bank, Ward No13, Station Road, Mahasamund-493445 (Cg) | 2017-10-26 | 2019-10-26 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
101 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | 3KVA UPS+ISOLATION/TRANSF-FUJI ELECTRIC | Fuji Electric | 3 | KVA | UPS_3KVA | Pakhanjur R-29 | South & West 3 | Chhattisgarh | 1st Floor Ward No 2 Thana Para Main Road Pankhanjur 494776 | 2023-10-07 | 2025-10-06 | Fuji Electric | Fuji ElectricChhattisgarhRanjana Gupta
102 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | UPS Emerson 20KVA Model 420D | Vertiv/Emersen | 20 | KVA | 5420D20KVA | Raipur | South & West 3 | Chhattisgarh | 1st Floor, SKY Park, Ravi Nagar, GE Road, Near Collectorate Square, Raipur – 492001 (CG) | 2013-11-21 | 2015-11-21 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
103 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | UPS_3KVA | Rajim | South & West 3 | Chhattisgarh | Bajaj Finance Limited, Ground Floor, Ward No 12, Besides Bsnl Exchange, Kushbu Beauty Parlor, Mahasamund Road Rajim - 493885 (Cg) | 2018-12-11 | 2020-12-10 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
104 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | 6KVA | Rajnandang | South & West 3 | Chhattisgarh | 1St Floor, Hall No. - 3, Commercial Complex, New Bus Stand,Opp. Gurudwara, Rajanadgaon - 491 441 (C.G) | 2018-11-19 | 2020-11-18 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
105 | Ranjana Gupta | ranjana.gupta@bajajfinserv.in | Mob-9300012003 | Online UPS 6000 (6KVA@4.8kW) (1Ph 1Ph) | Champion | 6 | KVA | 6KVA | Saraipali | South & West 3 | Chhattisgarh | Bajaj Finance Limited, Ground Floor, Khasra No. 745/2, Main Road, Near Bank Of India, Saraipali, Dist: Mahasamund - 493558 (Chhattisgarh) | 2019-03-30 | 2021-03-29 | Novateur Electrical | Novateur ElectricalChhattisgarhRanjana Gupta
106 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | UPS-3KVA | Addanki | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd., 2nd floor, Above Indian Bank, GSR & Sons Residency, NH-5, Guntur Chennai Highway, Addanki – 523201. Andhra Pradesh | 2018-03-06 | 2020-03-05 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
107 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 3KVA Emerson CX-3000 5-6 hr. Backup | Vertiv/Emersen | 3 | KVA | UPS-2KVA | Adoni | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd., D No.21/143/70/B, 1st Floor, Usman Plaza, Opp. Royal Function Hall, SKD Colony, Adoni – 518301. Andhra Pradesh | 2016-03-26 | 2018-03-26 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
108 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | UPS-3000 | Allagadda | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, Srini Heights,Karanja Complex, Opp :- Market TB Road , Allagadda-518543. Andhra Pradesh | 2020-02-21 | 2022-02-20 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
109 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | Champion 3KVA | Amaravathi | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 2nd Floor, Vasavi Complex, Opp. Bsnl Office Main Road, Amaravathi, Guntur Dt., Andhra Pradesh-522020. Mobile: +91 9494648977. | 2017-08-31 | 2019-08-31 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
110 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | PB600 | Chilakaluripet | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 1st Floor, D.No:5-785/1, Thota Barthdu Complex, Gt Road, Narsarao Peta Center, Chilakaluripeta- 522616 | 2018-11-19 | 2020-11-18 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
111 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | PB600 | Chirala | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 1st floor, Door No: 14-21-85, Dharbav Road,Opp. State Bank Of India, Chirala Pin : 523155 | 2019-01-18 | 2021-01-17 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
112 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 6KVA EMERSON MAKE | Vertiv/Emersen | 6 | KVA | PB600 | Eluru | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 23A-7-19,1St Floor, K K S Street, Icici Bank Upstairs, R R Pet, Eluru- 534 002 | 2018-03-30 | 2020-03-29 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
113 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | 6KVA UPS+ISOLATION/TRANSF-FUJI ELECTRIC | Fuji Electric | 6 | KVA | Online UPS 6Kva | Eluru Additional | South & West 3 | Andhra Pradesh | Bajaja Finanace Ltd,Door No.: 27-1-36/3, Raguram Nilayam , 2nd floor, Journalist colony, Ammenapeta, Eluru, Pin code : 534006. | 2023-10-06 | 2025-10-05 | Fuji Electric | Fuji ElectricAndhra PradeshSai Teja P
114 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS Emerson make GXTMT+3kva CXLB 16 Amp | Vertiv/Emersen | 3 | KVA | 3K/ 72VDC | Gannavaram | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 1St Floor, Chimakurthy Commercial Complex, 1-193, Gnt Road, Nh 5, Gannaram - 521101 | 2018-03-27 | 2020-03-26 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
115 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 3KVA Champion Make (2-3 Hrs. Backup) | Champion | 3 | KVA | UPS-3KVA | Giddalur | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd., D.No.3-7-86, 1st Floor, Above Syndicate Bank, Lakshminarayan Nilayam, Jatharlakatta veedhi, Giddalur – 523357. Andhra Pradesh | 2017-04-25 | 2019-04-25 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
116 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 6000 (6kva@ 4.8kw)(1Ph-1Ph) | Champion | 6 | KVA | Online UPS 6Kva | Gudivada | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, Ground Floor, "Sbi Building"Door No: 4/273, Near Sobhana Hotel, Ganganamma Street, Gudiwada – 521 301 | 2020-04-01 | 2022-04-01 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
117 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS Emerson Liberty ITA 20KVA | Vertiv/Emersen | 20 | KVA | UPS 20 KVA | Guntur | South & West 3 | Andhra Pradesh | Bajaj finance Ltd, D.No : 5-25-92, Prasad Nilayam , 2nd floor, 3/ 7 lane, Brodipet, GUNTUR - 522002 | 2018-01-31 | 2020-01-31 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
118 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | 10 KVA UPS | Vertiv/Emersen | 10 | KVA | S600E-10KVA | Guntur Additional | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 2nd Floor, LMB Plaza, Dr No – 12-25-55, T S No - 530 & 531, Old Ward No – 5, Block No – 5, Opposite Metro Theater, Kothapet Main Road, Guntur – 522001 | 2022-09-24 | 2024-09-23 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
119 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | 3KVAUPS+ISOLATE TRANSF-GXTMT+CX-3EMERSEN | Vertiv/Emersen | 3 | KVA | GXT MT+CX 3K LB | Hanuman Junction | South & West 3 | Andhra Pradesh | Bajaj finance Ltd, Door No.6-59, Old No.4-112, Above Trends, Vijaywada Road, Bapulapadu, Hanumanjunction-521105 | 2023-09-30 | 2025-09-29 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
120 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS emerson make GXTMT+3KVA CX LB 16A | Vertiv/Emersen | 3 | KVA | MTTCV5KVA | Jaggayyapeta | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor, Above Sai Furniture, Parimala Complex, Opp Andhra Bank, Hydrabad Road, Jaggayyapet - 521175. Andhra Pradesh | 2017-11-18 | 2019-11-18 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
121 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 6000 (6kva@ 4.8kw)(1Ph-1Ph) | Champion | 6 | KVA | Online UPS 6Kva | Jangareddygudem | South & West 3 | Andhra Pradesh | Bajaj finance Ltd,1St Floor, Vandanappu Venkateswara Complex, Above Icici Bank, Eluru Main Road, Jangareddygudem (Andhra Pradesh) 534447 | 2019-10-17 | 2021-10-16 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
122 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | 3KVAUPS+ISOLATE TRANSF-GXTMT+CX-3EMERSEN | Vertiv/Emersen | 3 | KVA | GXTMT+CX | Kandakur | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,16-1-13, 1st Floor, Pamuru Rd, opp. CO-OPERATIVE BANK, Kota Reddy Nagar, Kandukur, AP | 2023-09-25 | 2025-09-24 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
123 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 3KVA Emerson CX-3000 5-6 hr. Backup | Vertiv/Emersen | 3 | KVA | GXTMT+CX,3KLB | Kavali | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd., 1st Floor ,Above Orintal Bank Of Commerce, Trunk Road, Kavali – 524201. Andhra Pradesh | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
124 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS Emerson make GXTMT+3kva CXLB 16 Amp | Vertiv/Emersen | 3 | KVA | 3K/72V | Kondapalli | South & West 3 | Andhra Pradesh | Bajaj finance Ltd, 2nd Floor, Near St.Anns Hospital, 2-86, Main Road, Kondapalli - 521228 | 2018-04-20 | 2020-04-19 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
125 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 6KVA-1Phase Input / 1Phase Output | Vertiv/Emersen | 6 | KVA | PB-600 | Kurnool | South & West 3 | Andhra Pradesh | Bajaj finance Ltd, 2nd Floor, 40-29-1-c, SP Square, Park Road, Malabar Gold Shop, Kurnool 518001 | 2022-09-02 | 2024-09-01 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
126 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS Emerson Powerbank 6KVA (4-6 hr backu | Vertiv/Emersen | 6 | KVA | PB-600 | Kurnool | South & West 3 | Andhra Pradesh | Bajaj finance Ltd, 2nd Floor, 40-29-1-c, SP Square, Park Road, Malabar Gold Shop, Kurnool 518001 | 2018-03-30 | 2020-03-29 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
127 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | GXT MTX+BX | Kurnool | South & West 3 | Andhra Pradesh | Bajaj finance Ltd, 2nd Floor, 40-29-1-c, SP Square, Park Road, Malabar Gold Shop, Kurnool 518001 | 2017-12-28 | 2019-12-28 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
128 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 6KVA Online Powerbank Emerson | Vertiv/Emersen | 6 | KVA | PB6KVA | Machilipatnam | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, Sri Manikanta Classy, 1St Floor, D.No. 23-15 To 17, 'X' Roads, Ramanaidupet,Machilipatnam Ap.-521001 | 2018-02-06 | 2020-02-06 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
129 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | 3KVA UPS+ISOLATION/TRANSF-FUJI ELECTRIC | Vertiv/Emersen | 3 | KVA | MTT3KVA | Mangalagiri | South & West 3 | Andhra Pradesh | Bajaj Finance Limited, Door No.8-711, Near Husen Katta, Above Punjab National Bank, Old Mangalagiri, Pin code 522503 | 2024-01-22 | 2026-01-21 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
130 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS emerson make GXTMT+3KVA CX LB 16A | Vertiv/Emersen | 3 | KVA | GXT MT + CX 3K LB | Markapur | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd., D.NO:7/486-489, 1st Floor, Devireddy Complex, Above Bank of India, Nehru Street, Markapur – 523316. Andhra Pradesh | 2017-11-18 | 2019-11-18 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
131 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | UPS-3000 | Nandikotkur | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 1st Floor, Shop.no:-4-28,Rabbani Complex KG Road,Near RTC Bus Stand,Main Road,Nandikotkur Andhra Pradesh-508401 | 2020-02-21 | 2022-02-20 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
132 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | 10KVA UPS-WITH ISO-TRANS FUJI-ELEC | Fuji Electric | 10 | KVA | UPS-10KVA | Nandyal | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 1st Floor, #Plot No- 402, Padmavathi Nagar, Main Road, Nandyal-518501 | 2023-09-25 | 2025-09-24 | Fuji Electric | Fuji ElectricAndhra PradeshSai Teja P
133 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS Emerson Powerbank 6KVA (4-6 hr backu | Vertiv/Emersen | 6 | KVA | PB600 | Narasaraopet | South & West 3 | Andhra Pradesh | Bajaj Finance Limited, Dno: 9-1-73, Old Ward No-4, New Ward No-5, Old Survey No-423, TS No-1632, Gangula Edukondala Reddy Complex. Railway Station Road, Narasaraopet, Pin-522601 | 2014-08-20 | 2016-08-19 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
134 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS Emerson make 20KVA | Vertiv/Emersen | 20 | KVA | ITA-2, 20 Kva | Nellore | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,M C Arcade, 26-16-370 Mini Bypass road Kondayapalem, Nellore 524003 | 2019-02-25 | 2021-02-24 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
135 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | 10KVA UPS WITH ISO-TRANS DELTA | DELTA | 10 | KVA | Online UPS 10Kva | Nellore Additional | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd,D no : 16-2-436, Mini Bypass Road, Minimum Substation, Nellore -524003 | 2023-11-24 | 2025-11-23 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
136 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 3KVA Champion Make (2-3 Hrs. Backup) | Champion | 3 | KVA | Online UPS 3Kva | Nuzividu | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., 1st Floor, Basu Complex, NO.20/164, Pedda Gandhi, Bomma Center, Tirvur Road, Opp Axis Bank, Nuzividu – 521201. Andhra Pradesh | 2017-04-21 | 2019-04-21 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
137 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | PB600 | Ongole | South & West 3 | Andhra Pradesh | Bajaj finance Ltd, 1st Floor, 5-70, NGO Colony, 2nd Cross road, opp power office, Karnool Raod, Ongole -523001 | 2022-07-09 | 2024-07-08 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
138 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | PB600 | Ongole | South & West 3 | Andhra Pradesh | Bajaj finance Ltd, 1st Floor, 5-70, NGO Colony, 2nd Cross road, opp power office, Karnool Raod, Ongole -523001 | 2019-01-18 | 2021-01-17 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
139 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 3KVA Champion Make (4 Hour Backup) | Champion | 3 | KVA | ONFINITI 3KVA-96 FMI C | Piduguralla | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, D.No.7-407/1, 1st Floor, Above Axis Bank, Near Anji Reddy Hospital, Main Road, Piduguralla - 522413. Andhra Pradesh | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
140 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 3KVA Champion Make (4 Hour Backup) | Champion | 3 | KVA | UPS-3KVA | Ponnur | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 1st Floor, Door No: 15-194, Opp Andhra Bank, G B C Road, Ponnur (Andhra Pradesh) 522124 | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
141 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 3KVA Champion Make (2-3 Hrs. Backup) | Champion | 3 | KVA | UPS-3KVA | Repalle | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 2nd Floor, Raghava Nilayam, Above Bank of Baroda, No.5977, Main Road, Railpet, Repalle – 522265. Andhra Pradesh | 2017-04-24 | 2019-04-24 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
142 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 2KVA Champion Make (2 Hour Backup) | Champion | 2 | KVA | Online UPS 2Kva | Tadepalligudem | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 2Nd Floor, 2-12-19, Kam Nursing Home Complex, Bandoru Vari Street, 26Th Ward, Railway Station Road, Tadepalligudem - 534101. | 2016-06-22 | 2018-06-22 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
143 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 3KVA (WITH 12V/100AH BATTERY - RAJAHMUNDRY | Champion | 3 | KVA | Online UPS 3Kva | Tadepalligudem | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 2Nd Floor, 2-12-19, Kam Nursing Home Complex, Bandoru Vari Street, 26Th Ward, Railway Station Road, Tadepalligudem - 534101. | 2013-01-28 | 2015-01-28 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
144 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | UPS PB 6KVA | Tenali | South & West 3 | Andhra Pradesh | Bajaj finance Ltd, 01st Floor, Srinivas Castel, Dno: 22-4-45, S N Park Road, Tenali-522201 | 2019-01-18 | 2021-01-17 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
145 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS Emerson make 20KVA | Vertiv/Emersen | 20 | KVA | UPS 20 KVA ITA2 | Vijayawada Additional 2Nd Floor | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, Door No: 15A-16-1/7, 1st Floor, KKR ICON, Opposite Union Bank Of India, Main Road, Gurunanak Colony, Vijayawada –520 008 | 2020-03-17 | 2022-03-17 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
146 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS Emerson make 20KVA | Vertiv/Emersen | 20 | KVA | UPS 20 KVA ITA2 | Vijayawada Additional 2Nd Floor | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, Door No: 15A-16-1/7, 1st Floor, KKR ICON, Opposite Union Bank Of India, Main Road, Gurunanak Colony, Vijayawada –520 008 | 2020-03-17 | 2022-03-17 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
147 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | 10KVA UPS SET VERTIV 3PH INPUT&OUTPUT | Vertiv/Emersen | 10 | KVA | 10KVA / S6005 | Vijayawada Additional 5Th Floor | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, Door No: 15A-16-1/7,5th Floors, KKR ICON, Opposite Union Bank Of India, Main Road, Gurunanak Colony, Vijayawada –520 008 | 2023-10-20 | 2025-10-19 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
148 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | Schneider Electic Make 6KVA | Schneider | 6 | KVA | 9E6KS-IN | Vijayawada Bafl | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd (AF Verticle ) D No. 40-5-11, Tikkle road, Rajkamal Towers, Vijayawada-520010 | 2023-08-25 | 2025-08-24 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
149 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS Emerson 20KVA Adapt make | Vertiv/Emersen | 20 | KVA | 20KVA / 408V | Vijayawada Csb | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 2Nd Floor, Door No. 32-9-17, Madhu Mahalaxmi Chembers, Near Jammichettu Centre, Mogalrajpuram, Vijayawada - 520010 | 2016-04-01 | 2018-04-01 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
150 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | UPS Emerson 20KVA Adapt make | Vertiv/Emersen | 20 | KVA | 20K/408V | Vijayawada Csb | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, 2Nd Floor, Door No. 32-9-17, Madhu Mahalaxmi Chembers, Near Jammichettu Centre, Mogalrajpuram, Vijayawada - 520010 | 2016-04-01 | 2018-04-01 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
151 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | Delta Electronics Make 10kva | DELTA | 10 | KVA | RT-10K3P | Vijayawada Rtc | South & West 3 | Andhra Pradesh | Bajaj Finance Ltd, Satya Krishna Bhavan, D No : 52-1-8-13,NTR Colony, Veterinary colony, Oposite loyola college, Vijayawada -520008 | 2023-07-10 | 2025-07-09 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
152 | Sai Teja P | saiteja.pachari@bajajfinserv.in | Mob-9985253830 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | UPS-3KVA | Yemmiganur | South & West 3 | Andhra Pradesh | Bajaj Finance Limited., D No - 1/1543, 1st Floor,Opp.RTC Bus Stand,Gandhi Nagar,Yemmiganur,Kurnool Dist., Andhra Pradesh – 518360. Andhra Pradesh | 2018-03-31 | 2020-03-30 | Novateur Electrical | Novateur ElectricalAndhra PradeshSai Teja P
153 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | UPS 6KVA Online Powerbank Emerson | Vertiv/Emersen | 6 | KVA | 171106AS9007 | Bokaro | South & West 3 | Jharkhand | Bajaj Finance Ltd, Office No. 4, 1st Floor, North Side N – 1, City Centre, Sector – 4, Bokaro Steel City, Jharkhand, Pin code – 827004 | 2018-02-06 | 2020-02-06 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
154 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | 3KVA UPS+ISOLATE/TRANSFORMER BEST POWER | BPE | 3 | KVA | M13L23C00981 | Bokaro Base 2 | South & West 3 | Jharkhand | Bajaj Finance Ltd, Office No. 4, 1st Floor, North Side N – 1, City Centre, Sector – 4, Bokaro Steel City, Jharkhand, Pin code – 827004 | 2023-10-26 | 2025-10-25 | Best Power | Best PowerJharkhandSumit Kumar Singh
155 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | WO20011029 | Bundu | South & West 3 | Jharkhand | Bajaj Finance Ltd. 1st Floor Raghuwanshi Height , NH-33 Below bank of india &Axis Bank , Dist. Ranchi Bundu-835204 | 2020-02-19 | 2022-02-18 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
156 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | UPS 6000 (6kva@ 4.8kw)(1Ph-1Ph) | Champion | 6 | KVA | WO16061113 | Chaibasa | South & West 3 | Jharkhand | Bajaj Finance Ltd, 1st floor, ld house, opposite hanuman mandir, amlatola, ps sadar thana, chaibasa, jharkhand 833201 | 2019-11-04 | 2021-11-03 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
157 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | UPS 3KVA Champion Make (4 Hour Backup) | Champion | 3 | KVA | W017021042 | Chakradhar | South & West 3 | Jharkhand | Bajaj Finance Ltd, 1st floor, beside hdfc bank, main road chakradharpur (jharkhand) - 833102 | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
158 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | 3KVAUPS+ISOLATE TRANSF-GXTMT+CX-3EMERSEN | Vertiv/Emersen | 3 | KVA | 8332L2304500406 | Chandil | South & West 3 | Jharkhand | Bajaj Finance Ltd, Plot No – 212, Khata No -09, Main Market Station Road, Burudungri, chandil, Dist – Saraikela Kharswan ,Jharkhand -832401 | 2023-09-13 | 2025-09-12 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
159 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | UPS 6KVA Online Powerbank Emerson | Vertiv/Emersen | 6 | KVA | WO19041106 | Dhanbad | South & West 3 | Jharkhand | Bajaj Finance Ltd, 3rd floor, commerce house, shastri nagar bank more, dhanbad - 828106 | 2018-09-26 | 2020-09-25 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
160 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | 3KVA UPS+ISOLATE/TRANSFORMER BEST POWER | BPE | 3 | KVA | M13L23B02392 | Gamharia | South & West 3 | Jharkhand | Bajaj Finance Ltd,1st Floor Dream Inn Hotel, 1st floor near Ghoda baba Mandir main road Gamhariya, Jamshedpur , Sarikela Kharsawan Jharkhand -832108 | 2023-10-07 | 2025-10-06 | Best Power | Best PowerJharkhandSumit Kumar Singh
161 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | UPS 6000 (6kva@ 4.8kw)(1Ph-1Ph) | Champion | 6 | KVA | W019111156 | Ghatshila | South & West 3 | Jharkhand | Bajaj Finance Ltd. 1st Floor, Goyal Complex, Main Road, Above Canara Bank Ghatshila -832303 (Jharkhand) | 2019-12-12 | 2021-12-11 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
162 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | 3KVA UPS+ISOLATE/TRANSFORMER BEST POWER | BPE | 3 | KVA | M13L23H00062 | Govindpur | South & West 3 | Jharkhand | Bajaj Finance Ltd, Khata No .238, Plot No. 1825, New Khata No 118, New Plot No, 2750, Khata No. 283, Plot No.1827, New Khata No.701, New Plot No. 2746, New Tyeacher Training School, Behind Kotak Mahindra Bank Near Heam Hospital Chatt Talab, Govindpur, Dhanbad, Jharkhand – 828109 | 2023-10-12 | 2025-10-11 | Best Power | Best PowerJharkhandSumit Kumar Singh
163 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | 8362L1906100054 | Gumla | South & West 3 | Jharkhand | Bajaj Finance Ltd. 2nd Floor, Ward No.17 R-6 Tower 2Nd Floor Above State Bank Of India Jashpur Road Gumla Jharkhand -835207 | 2019-09-23 | 2021-09-22 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
164 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | Online UPS 10000 (10KVA@8kW)(3Ph 1Ph) | Champion | 10 | KVA | WO20021084 | Jamshedpur | South & West 3 | Jharkhand | Bajaj Finance Ltd, The SANCTUM,2nd Floor & 3rd floor,Above YES Bank,141,S.N.P Area,Ambagan,Sakchi,Jamshedpur,Jharkhand-831001 | 2020-02-27 | 2022-02-26 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
165 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | UPS 10KVA Emerson Super 400D | Vertiv/Emersen | 10 | KVA | 150410ES2126 | Jamshedpur | South & West 3 | Jharkhand | Bajaj Finance Ltd, The SANCTUM,2nd Floor & 3rd floor,Above YES Bank,141,S.N.P Area,Ambagan,Sakchi,Jamshedpur,Jharkhand-831001 | 2015-06-30 | 2017-06-29 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
166 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | UPS-3000 EX(3KVA@2.4kW) (1ph-1ph) | Champion | 3 | KVA | WO22041044 | Karmatar | South & West 3 | Jharkhand | First Floor, Above Bank of India, Post & PS Karmatar Dist. Jamtara, JH -815352 | 2022-04-01 | 2024-03-31 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
167 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | 3KVAUPS+ISOLATE TRANSF-GXTMT+CX-3EMERSEN | Vertiv/Emersen | 3 | KVA | 8332L2304500494 | Katrasgarah | South & West 3 | Jharkhand | Bajaj Finance Ltd,Mouza No.239, Khata No -412, Plot No -1801, Kalali Phatak, Katras Bazar, Katrasgarh ,Jharkhand -828114 | 2023-09-13 | 2025-09-12 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
168 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | WQ20011595 | Khunti | South & West 3 | Jharkhand | Bajaj Finance Ltd. 1st Floor, Basant Complex, Neta Ji Chowk, Main Road NH75, Khuti-835210 (Jharkhand) | 2020-02-21 | 2022-02-20 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
169 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | 3KVA UPS+ISOLATE/TRANSFORMER BEST POWER | BPE | 3 | KVA | M13L23C00799 | Mahuadanr | South & West 3 | Jharkhand | Bajaj Finance Ltd, Mouza No. 136, Khata No.77, Plot No.535, 536 & 537,Opposite Azad Market, Mahuwadanr, Dist – Latehar, Jharkhand – 822119 | 2023-10-07 | 2025-10-06 | Best Power | Best PowerJharkhandSumit Kumar Singh
170 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | WO19111226 | Nirsa | South & West 3 | Jharkhand | Bajaj Finance Ltd, 1st floor , above sbi atm, jamtara road, nirsa market,jharkhand, nirsa 828205 | 2019-12-20 | 2021-12-19 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
171 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | WQ20011059 | Peterbar | South & West 3 | Jharkhand | Bajaj Finance Ltd. 1st Floor, Beside Bank Of India, Main Road 110, ranchi, Dhanbad Road, Village Gagi Post Peterbar, Bakaro, Jharkhand-829121 | 2020-02-20 | 2022-02-19 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
172 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | UPS 3KVA Champion Make 4100013205 | Champion | 3 | KVA | WO1703166 | Phusro | South & West 3 | Jharkhand | Bajaj Finance Ltd, Kakkar House, 1st Floor Main Road, Phusro Bazar, New Band Box, Near Prabhat battery P.S. Bermo, Phusro - 829144 (Jharkhand) | 2017-04-25 | 2019-04-25 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
173 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | UPS Emerson make 20KVA | Vertiv/Emersen | 20 | KVA | 2101201740218406003A | Ranchi | South & West 3 | Jharkhand | Bajaj Finance Ltd, 3rd floor, estate plaza, office No 301, kantatuli chowk, old h b road, behind mangal tower, ranchi 834001 | 2018-09-26 | 2020-09-25 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
174 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | #N/A | 3KVAUPS+ISOLATE TRANSF-GXTMT+CX-3EMERSEN | Vertiv/Emersen | 3 | KVA | 8332l2308500050 | Saraikela | South & West 3 | Jharkhand | Bajaj Finance Ltd, Ward no 06, Jail road, near KVPDSS Girls school , Saraikela , Jharkhand 833219 | 2023-12-15 | 2025-12-14 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
175 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS 6000 (6kva@ 4.8kw)(1Ph-1Ph) | Champion | 6 | KVA | WO19111152 | Barki Saraiya | South & West 3 | Jharkhand | Bajaj Finance Ltd. 1st Floor, Near Vivekananda Square & Ashok Pharma, Barki Saraiya- 825320 Dist-Giridih (Jharkhand) | 2019-12-07 | 2021-12-06 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
176 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | 3KVA UPS+ISOLATE/TRANSFORMER BEST POWER | BPE | 3 | KVA | M13L23B02291 | Bishrampur | South & West 3 | Jharkhand | Bajaj Finance Ltd,Mouza No-31, Khata No-33, Plot No-284, Near SBI Bank, sordih thana raod, Bishrampur, Garhwa, Dist-Palamu, Jharkhand – 822132 | 2023-10-07 | 2025-10-06 | Best Power | Best PowerJharkhandSumit Kumar Singh
177 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | 8362L1906100056 | Daltonganj | South & West 3 | Jharkhand | Bajaj Finance Ltd. 1st Floor Ranchi Road Redma Near Bhagbati Hospital Daltanganj Jharkhand -822101 | 2019-09-23 | 2021-09-22 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
178 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS 6KVA Online Powerbank(4 hour backup) | Vertiv/Emersen | 6 | KVA | 150706AS4698 | Deoghar | South & West 3 | Jharkhand | Bajaj Finance Ltd, 1st floor, "deoghar palace",vip chowk, holding No. 128, ward No. 9, back side of v mart, deoghar - 814112 | 2015-08-27 | 2017-08-26 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
179 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | 3KVA UPS+ISOLATE/TRANSFORMER BEST POWER | BPE | 3 | KVA | M13L23B02089 | Deori | South & West 3 | Jharkhand | Bajaj Finance Ltd, Khata No 78, Plot No 27, Beside Bank of India, Infront of Block Office Deori, Dist – Giridih, Jharkhand -815314 | 2023-10-07 | 2025-10-06 | Best Power | Best PowerJharkhandSumit Kumar Singh
180 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS 2KVA Champion Make (2 Hour Backup) | Champion | 2 | KVA | WO16061117 | Dumka | South & West 3 | Jharkhand | Bajaj Finance Ltd, Ground floor, holding No. 196, bhagalpur road, ps: dumka town, dumka Beside yamaha showroom, opp. To yash electronics. Jharkhand- 814101 | 2019-03-31 | 2021-03-30 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
181 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | 3KVA UPS+ISOLATE/TRANSFORMER BEST POWER | BPE | 3 | KVA | M13L23H00105 | Dumri | South & West 3 | Jharkhand | Bajaj Finance Limited, Barnawal market 1st Floor Khata No 49/76 plot No 633/1228 Isri Bazar , Old GT Road Post office near Bank of India Isri Nimiyaghat Dumri Pin 825167 | 2023-10-12 | 2025-10-11 | Best Power | Best PowerJharkhandSumit Kumar Singh
182 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS 6000 (6kva@ 4.8kw)(1Ph-1Ph) | Champion | 6 | KVA | W019111158 | Garhwa | South & West 3 | Jharkhand | Bajaj Finance Ltd. 1st Floor, Plot No.39 Near HDFC bank, Chiniya Road, Garhwa -822114 (Jharkhand) | 2019-12-07 | 2021-12-06 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
183 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | 180706PB0108 | Giridih | South & West 3 | Jharkhand | Bajaj Finance Ltd, “ Balaji towers, 1st floor, giridih bengabad main road, barganda, makatpur, giridih, jharkhand, near bank of maharashtra 815301 | 2018-11-19 | 2020-11-18 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
184 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | 8362L1905100131 | Godda | South & West 3 | Jharkhand | Bajaj Finance Ltd. 2nd Floor, Ward No-2 pirpainti road 2nd Floor Push Plaza Above ICICI BANK & HDFC Bank Near UCO Bank & HDB Fincial Godda Jharkhand -814133 | 2019-09-23 | 2021-09-22 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
185 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS-3000 Champion EX(3KVA@2.4kW) (1ph-1ph) | Champion | 3 | KVA | WO22051229 | Hansdiha | South & West 3 | Jharkhand | Ground Floor Near javahar navoday vidhyalay Hansdiha Dumka Road Moja Parkheta Hansdiha Dist. Dumka Jharkhand Pincode 814145 | 2022-05-27 | 2024-05-26 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
186 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS 6KVA Online Powerbank(4 hour backup) | Vertiv/Emersen | 6 | KVA | 150706AS4692 | Hazaribag | South & West 3 | Jharkhand | Bajaj Finance Ltd, " JAI MATA DI COMPLEX, Near Old Muffasil Thana and St. Columnas College, Ranchi-Patna Road hazaribag - 825 301. | 2015-08-27 | 2017-08-26 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
187 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | WO20011058 | Jamua | South & West 3 | Jharkhand | Bajaj Finance Ltd. Ground floor Plot No. 449, Khata No-13, Infornt Of Canara Bank Above TVS Showroom Thana Road dist Giridih, Jamua-Jharkhand 815318 | 2020-03-18 | 2022-03-18 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
188 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | WC20011598 | Khalari | South & West 3 | Jharkhand | Bajaj Finance Ltd. 2nd floor ,Sonu Motor Building,Sahid Chowk, KD Road,Near Over bridge, Khalari,Dist:- Ranchi, Jharkhand – 829205 | 2020-02-21 | 2022-02-20 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
189 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS 3KVA Champion Make 4100013205 | Champion | 3 | KVA | W017031052 | Kodarma | South & West 3 | Jharkhand | Bajaj Finance Ltd, Ground floor, j k tower, jhumri telaiya ranchi patna road jharkhand, c.d. Colony, jhumri telaiya, koderma, jharkhand 825409 | 2017-04-19 | 2019-04-19 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
190 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | 8362L1905100007 | Madhupur | South & West 3 | Jharkhand | Bajaj Finance Ltd. 1St Floor, Nagar Palika More, Thane Chowk, Madhupur, Jharkhand, 815353 | 2019-09-23 | 2021-09-22 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
191 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS 6000 (6kva@ 4.8kw)(1Ph-1Ph) | Champion | 6 | KVA | W019101030 | Pakur | South & West 3 | Jharkhand | Bajaj Finance Ltd. 1st Floor, Plot No. 1275, Above UCO Bank, Main Road, Kalibhansan Pakur -816107 (Jharkhand) | 2019-12-12 | 2021-12-11 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
192 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | ups 3000 cham make (3KVA@2.4kW)/battery | Champion | 3 | KVA | WO20011080 | Patratu | South & West 3 | Jharkhand | Bajaj Finance Ltd. Ground floor, Near Bhandan bank Station road dist ramghar, Patratu - 829118 | 2020-02-20 | 2022-02-19 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
193 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS 6000 (6kva@ 4.8kw)(1Ph-1Ph) | Champion | 6 | KVA | W019091438 | Ramgarh | South & West 3 | Jharkhand | Bajaj Finance Limited Ground Floor, Munnu Seth Super Market, Ramgarh, Sonbhadra UP- 231213 | 2019-10-15 | 2021-10-14 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
194 | Sumit Kumar Singh | sumit.singh30@bajajfinserv.in | Mob-7030325164 | UPS 6KVA Emerson Make PB600 | Vertiv/Emersen | 6 | KVA | 8362L1905100123 | Sahibganj | South & West 3 | Jharkhand | Bajaj Finance Ltd. 1St Floor, Near Subhash Chowk, Above Honda Showroom, Sahibgunj, Jharkhand, 816109 | 2019-09-23 | 2021-09-22 | Novateur Electrical | Novateur ElectricalJharkhandSumit Kumar Singh
Formulas:
Warranty Expiry = [Installation date]+365*2